| ADMINISTRATIVE PROCEDURES | YES/NO/NR | Actions to be taken |
| --- | --- | --- |
| What was the date of last formal inspection of the workshop? |  |  |
| Have items which attracted a negative response in the former inspection been suitably addressed? |  |  |
| Have Rules for Safe Workshop Practice been formulated? |  |  |
| Has the attention of all workshop users been drawn to these Rules? |  |  |
| Are copies of relevant Regulations, Codes of Practice, Guidance Notes, and the Health and Safety Policy, available in the workshop? |  |  |
| Is there a system in place to ensure that potential users receive full and adequate instruction and training in the safe operation of the equipment they propose to use? |  |  |
| Is there a system in place to ensure that the level of supervision applied is commensurate with the skill and experience levels of individual workshop users? |  |  |
| Are all users fully acquainted with the operation of any Permit-to-Work systems within the workshop area? |  |  |
| Are written records kept to document the training of users of workshop equipment? |  |  |
| Are procedures for the reporting of accidents, incidents and occupational ill health well established? |  |  |
| Are the fabric and condition of the accommodation housing your workshop facilities suitable for the work to be undertaken? |  |  |
| GENERAL HEALTH AND SAFETY PRECAUTIONS | YES/NO/NR | Actions to be taken |
| Are Fire Escape routes from the workshop clear of obstruction and suitably sign posted? |  |  |
| Is the Fire Alarm easily audible above machinery noise? |  |  |
| If not, have visual warning systems been installed? |  |  |
| Have suitable items of fire fighting equipment been provided? |  |  |
| Has sufficient training been given to staff on the use of fire fighting equipment and records kept? |  |  |
| Are notices displayed indicating actions to be taken in the event of a fire? (Fire Action Notices) |  |  |
| Are workshop users acquainted with the Fire Routine Procedure for the workshop area or building? |  |  |
| Have Fire Stewards been appointed covering the workshop area? |  |  |
| Are notices displayed detailing the nearest available qualified First Aiders, and the location of the First Aid Box (es)? |  |  |
| Are First Aid Boxes checked regularly to ensure that they are kept well stocked, with contents in good condition? |  |  |
| Is there a suitable eye wash station installed? (Where running water is available this should be of the type plumbed to the water supply). |  |  |
| Are workshop users able to readily contact the Emergency Services, should this be required? |  |  |
| Are suitable Warning, Mandatory and Prohibition signs displayed within the workshop area as required? (E.g. warning: noise hazard; mandatory: eye protection must be worn, etc.) |  |  |
| Do these signs comply with the Health and Safety (Signs and Signals) Regulations, 1996 i.e. are they of a pictogram style and hazard: black on yellow; mandatory: white on blue; prohibitive: white on red? |  |  |

| CLEANLINESS AND HOUSEKEEPING | YES/NO/NR | Actions to be taken |
| --- | --- | --- |
| Are all items of workshop equipment suitably placed to avoid overcrowding and anchored to ensure stability? |  |  |
| Are the working areas and gangways clean and clear of obstructions and/or slipping hazards? |  |  |
| Are requisite items of general personal protective clothing and equipment supplied to users? |  |  |
| Are rules on personal clothing, jewellery, etc, strictly enforced? |  |  |
| Are washing facilities and materials adequate? |  |  |
| Are suitable materials or kits available to deal with spillages? |  |  |

| LIGHTING | YES/NO/NR | Actions to be taken |
| --- | --- | --- |
| Is the general level of illumination of the workshop adequate for the work to be carried out? Is there emergency backup lighting where necessary? |  |  |
| Is suitable supplementary local lighting employed, where required? |  |  |

| VENTILATION | YE/NO/NR | Actions to be taken |
| --- | --- | --- |
| Are ambient temperatures in the workshop suitable for the work to be carried out? |  |  |
| Is general ventilation of the workshop area satisfactory? |  |  |
| Where applicable, is suitable Local Exhaust Ventilation (LEV) available to remove hazardous or nuisance substances or materials? (See Hazardous Substances below). |  |  |

| NOISE: Regulation 1989/2005 | YES/NO/NR | Actions to be taken |
| --- | --- | --- |
| Do workshop operations produce an excessive or uncomfortable noise level? (Guide: is it necessary to raise one’s voice substantially to speak to someone 2 metres away?) |  |  |
| If so, has noise monitoring been requested and carried out? |  |  |
| Has a full risk assessment been carried out? |  |  |
| Where required, have suitable forms of engineering control been implemented, to control the noise at source? |  |  |
| Where suitable engineering control is not practicable, have suitable ear defenders been supplied? |  |  |
| Are mandatory ear protection zones designated where applicable i.e. where daily noise exposure exceeds 80dB (A)? |  |  |
| Is there a positive purchasing policy in place whereby only machines with low noise emission levels are purchased? |  |  |
| HAZARDOUS SUBSTANCES | YES/NO/NR | Actions to be taken |
| Are there any substances that may present a hazard to health in use within the workshop area? |  |  |
| If so, have suitable COSHH assessments been carried out, documented and records kept? |  |  |
| Are staff aware of the conclusions and recommendations for safe working, with these substances, resulting from the COSHH assessments? |  |  |
| Is suitable Local Exhaust Ventilation (LEV) employed to remove hazardous fumes, oil mists, vapours, gases or dusts, and are these items subject to regular maintenance and performance checks i.e. at least every 14 calendar months? |  |  |
| Is appropriate personal protective equipment available, specifically matched to the hazard against which it is to protect, and are these items subject to regular checks to ensure they remain in good condition? |  |  |
| Are any specific First Aid actions that may be required following contamination with specific hazardous substance recorded and available to users? |  |  |
| Are suitable means of dealing with spillages of any hazardous substances available? |  |  |
| Is there a system for the disposal of potentially hazardous wastes which is in line with both the School and University waste management policies? |  |  |

| ELECTRICAL EQUIPMENT | YES/NO/NR | Actions to be taken |
| --- | --- | --- |
| Are all items of portable electrical equipment subject to a suitable regime of appliance testing and maintenance (see University Health and Safety Policy Part Three: Electrical Equipment), including the keeping of records? |  |  |
| Are items of hard wired equipment likewise subject to regular maintenance checks, and is suitable remedial action applied, where required? |  |  |
| Is the electrical installation forming part of the fabric of the workshop accommodation satisfactory for the requirements of the work in question? |  |  |

| LIFTING OPERATIONS | YES/NO/NR | Actions to be taken |
| --- | --- | --- |
| Are heavy lifting operations carried out within the workshop area? |  |  |
| Is so, have all items of lifting equipment been notified to the Company’s Engineering Insurers? |  |  |
| Is the Safe Working Load (SWL) clearly marked on each piece of lifting equipment? |  |  |
| Is adequate head, hand and foot protection available to personnel involved in lifting operations? |  |  |
| Are personnel acquainted with techniques for safe manual handling? |  |  |
| Where required, have individual users been formally trained in lifting and handling techniques e.g. fork lift training, slinging, heavy manual handling, and have individual training records been kept? |  |  |
| Where a task involves a foreseeable risk of injury, has a formal manual handling risk assessment been carried out and documented, and have the results of the assessment been communicated to relevant workers? |  |  |

| PRESSURE SYSTEMS | YES/NO/NR | Actions to be taken |
| --- | --- | --- |
| Have all items of pressurised equipment been notified to the Company’s Engineering Insurers |  |  |
| Is the Safe Working Pressure (SWP) clearly marked an each item of equipment? |  |  |
| Are all interlocks and other safety devices on pressure vessels fully functional and adequately maintained? |  |  |
| Are rules in force to strictly control the use of compressed air equipment? |  |  |

| OCCUPATIONAL HEALTH | YES/NO/NR | Actions to be taken |
| --- | --- | --- |
| Where the potential exposure to a substance or material hazardous to health cannot be fully controlled by either engineering control or personal protective equipment, has suitable health surveillance been implemented? |  |  |
| Where respiratory sensitizers, in particular, are in use (e.g. processes involving isocyanates, solvents, etc) have suitable engineering control measures, personal protection and/or health surveillance been implemented? |  |  |
| Are suitable barrier creams available to aid in skin protection, and are checks carried out to ensure that workshop users are not developing dermatitis problems? |  |  |
| Do any workshop activities involve vibration to the extent that vibration related conditions, e.g. vibration white finger, might be a potential problem? |  |  |
| Is there a positive purchasing policy in place whereby only machines/tools with anti-vibration suppression filter are purchased? |  |  |

| Working at Height | YES/NO/NR | Actions to be taken |
| --- | --- | --- |
| Is all access equipment for working at height checked regularly and recorded i.e. ladders, scissor lifts? |  |  |
| Do you operate a permit to work policy for significant working at height? |  |  |
| Has sufficient risk assessments been carried out for the task and alternatives considered? |  |  |
| Has the individual been trained and made aware of the risks involved with working at height? |  |  |

NOTE:

The above list is not meant as an exhaustive list of all relevant H&S factors but as a starting guide to good practice being followed. This list does not constitute total compliance with all H&S regulations.

All sections which are answered NO should be reviewed and auctioned immediately.